## Slide 1: Centralized Monitoring System Architecture
INV-n
INV-2
INV-1
Gateway-1
MFM
MFM
EM
Gateway-’O’
INV-n
INV-2
INV-1
Gateway-’n’
WMS
FTP Server
Centralized Monitoring System
Operation Centre
Solar Plant Area
RS-485 Serial
daisy Chain Loop
RS-485 Serial
daisy Chain Loop
Ethernet Layer
Modbus RTU
Modbus RTU
Modbus RTU
.csv file
.csv file
.csv file

## Slide 2: Centralized Monitoring System Architecture